## MODULE (hidden)
SN | DN | MT | RD | GROUP | SYNFOX | LINKCONF | URPA | URPA_1 | URPA_2 | URPA_3 | URPA_4 | URPA_5 | URPA_6 | URPA_7 | URPA_8 | URPA_9 | URPA_10 | URPA_11 | URPA_12 | IOCONF | IOCONF_1 | IOCONF_2 | IOCONF_3 | IOCONF_4 | IOCONF_5 | IOCONF_6 | IOCONF_7 | IOCONF_8 | IOCONF_9 | IOCONF_10 | IOCONF_11 | IOCONF_12 | IOCONF_13 | IOCONF_14 | IOCONF_15 | IOCONF_16 | IOCONF_17 | IOCONF_18 | IOCONF_19
站号 | 模块地址 | 模块类型 | 是否冗余 | 组 | 同步冻结 | Link仪表配置 | 用户参数 | 用户参数_1 | 用户参数_2 | 用户参数_3 | 用户参数_4 | 用户参数_5 | 用户参数_6 | 用户参数_7 | 用户参数_8 | 用户参数_9 | 用户参数_10 | 用户参数_11 | 用户参数_12 | IO配置 | IO配置_1 | IO配置_2 | IO配置_3 | IO配置_4 | IO配置_5 | IO配置_6 | IO配置_7 | IO配置_8 | IO配置_9 | IO配置_10 | IO配置_11 | IO配置_12 | IO配置_13 | IO配置_14 | IO配置_15 | IO配置_16 | IO配置_17 | IO配置_18 | IO配置_19

## MODULE_NEW (hidden)
SN | DN | MT | MODT | PROT | RD | GW | IO_LPS | GW_TYPE | GW_DN | GW_LPS | URPA0_0 | URPA0_1 | URPA0_2 | URPA0_3 | URPA0_4 | URPA0_5 | URPA0_6 | URPA0_7 | URPA0_8 | URPA0_9 | URPA0_10 | URPA0_11 | URPA0_12 | URPA0_13 | URPA0_14 | URPA0_15 | URPA0_16 | URPA0_17 | URPA0_18 | URPA0_19 | URPA1_0 | URPA1_1 | URPA1_2 | URPA1_3 | URPA1_4 | URPA1_5 | URPA1_6 | URPA1_7 | URPA1_8 | URPA1_9 | URPA1_10 | URPA1_11 | URPA1_12 | URPA1_13 | URPA1_14 | URPA1_15 | URPA1_16 | URPA1_17 | URPA1_18 | URPA1_19 | URPA2_0 | URPA2_1 | URPA2_2 | URPA2_3 | URPA2_4 | URPA2_5 | URPA2_6 | URPA2_7 | URPA2_8 | URPA2_9 | URPA2_10 | URPA2_11 | URPA2_12 | URPA2_13 | URPA2_14 | URPA2_15 | URPA2_16 | URPA2_17 | URPA2_18 | URPA2_19 | URPA3_0 | URPA3_1 | URPA3_2 | URPA3_3 | URPA3_4 | URPA3_5 | URPA3_6 | URPA3_7 | URPA3_8 | URPA3_9 | URPA3_10 | URPA3_11 | URPA3_12 | URPA3_13 | URPA3_14 | URPA3_15 | URPA3_16 | URPA3_17 | URPA3_18 | URPA3_19 | URPA4_0 | URPA4_1 | URPA4_2 | URPA4_3 | URPA4_4 | URPA4_5 | URPA4_6 | URPA4_7 | URPA4_8 | URPA4_9 | URPA4_10 | URPA4_11 | URPA4_12 | URPA4_13 | URPA4_14 | URPA4_15 | URPA4_16 | URPA4_17 | URPA4_18 | URPA4_19 | URPA5_0 | URPA5_1 | URPA5_2 | URPA5_3 | URPA5_4 | URPA5_5 | URPA5_6 | URPA5_7 | URPA5_8 | URPA5_9 | URPA5_10 | URPA5_11 | URPA5_12 | URPA5_13 | URPA5_14 | URPA5_15 | URPA5_16 | URPA5_17 | URPA5_18 | URPA5_19 | URPA6_0 | URPA6_1 | URPA6_2 | URPA6_3 | URPA6_4 | URPA6_5 | URPA6_6 | URPA6_7 | URPA6_8 | URPA6_9 | URPA6_10 | URPA6_11 | URPA6_12 | URPA6_13 | URPA6_14 | URPA6_15 | URPA6_16 | URPA6_17 | URPA6_18 | URPA6_19 | URPA7_0 | URPA7_1 | URPA7_2 | URPA7_3 | URPA7_4 | URPA7_5 | URPA7_6 | URPA7_7 | URPA7_8 | URPA7_9 | URPA7_10 | URPA7_11 | URPA7_12 | URPA7_13 | URPA7_14 | URPA7_15 | URPA7_16 | URPA7_17 | URPA7_18 | URPA7_19 | URPA8_0 | URPA8_1 | URPA8_2 | URPA8_3 | URPA8_4 | URPA8_5 | URPA8_6 | URPA8_7 | URPA8_8 | URPA8_9 | URPA8_10 | URPA8_11 | URPA8_12 | URPA8_13 | URPA8_14 | URPA8_15 | URPA8_16 | URPA8_17 | URPA8_18 | URPA8_19 | URPA9_0 | URPA9_1 | URPA9_2 | URPA9_3 | URPA9_4 | URPA9_5 | URPA9_6 | URPA9_7 | URPA9_8 | URPA9_9 | URPA9_10 | URPA9_11 | URPA9_12 | URPA9_13 | URPA9_14 | URPA9_15 | URPA9_16 | URPA9_17 | URPA9_18 | URPA9_19 | URPA10_0 | URPA10_1 | URPA10_2 | URPA10_3 | URPA10_4 | URPA10_5 | URPA10_6 | URPA10_7 | URPA10_8 | URPA10_9 | URPA10_10 | URPA10_11 | URPA10_12 | URPA10_13 | URPA10_14 | URPA10_15 | URPA10_16 | URPA10_17 | URPA10_18 | URPA10_19 | URPA11_0 | URPA11_1 | URPA11_2 | URPA11_3 | URPA11_4 | URPA11_5 | URPA11_6 | URPA11_7 | URPA11_8 | URPA11_9 | URPA11_10 | URPA11_11 | URPA11_12 | URPA11_13 | URPA11_14 | URPA11_15 | URPA11_16 | URPA11_17 | URPA11_18 | URPA11_19 | URPA12_0 | URPA12_1 | URPA12_2 | URPA12_3 | URPA12_4 | URPA12_5 | URPA12_6 | URPA12_7 | URPA12_8 | URPA12_9 | URPA12_10 | URPA12_11 | URPA12_12 | URPA12_13 | URPA12_14 | URPA12_15 | URPA12_16 | URPA12_17 | URPA12_18 | URPA12_19 | URPA13_0 | URPA13_1 | URPA13_2 | URPA13_3 | URPA13_4 | URPA13_5 | URPA13_6 | URPA13_7 | URPA13_8 | URPA13_9 | URPA13_10 | URPA13_11 | URPA13_12 | URPA13_13 | URPA13_14 | URPA13_15 | URPA13_16 | URPA13_17 | URPA13_18 | URPA13_19 | URPA14_0 | URPA14_1 | URPA14_2 | URPA14_3 | URPA14_4 | URPA14_5 | URPA14_6 | URPA14_7 | URPA14_8 | URPA14_9 | URPA14_10 | URPA14_11 | URPA14_12 | URPA14_13 | URPA14_14 | URPA14_15 | URPA14_16 | URPA14_17 | URPA14_18 | URPA14_19 | URPA15_0 | URPA15_1 | URPA15_2 | URPA15_3 | URPA15_4 | URPA15_5 | URPA15_6 | URPA15_7 | URPA15_8 | URPA15_9 | URPA15_10 | URPA15_11 | URPA15_12 | URPA15_13 | URPA15_14 | URPA15_15 | URPA15_16 | URPA15_17 | URPA15_18 | URPA15_19
站号 | 模块地址 | 模块类型 | 模块类别 | 协议号 | 是否冗余 | 网关接线方式 | IO所属链路 | 网关类型 | 网关站号 | 网关所属链路 | 用户参数0_0 | 用户参数0_1 | 用户参数0_2 | 用户参数0_3 | 用户参数0_4 | 用户参数0_5 | 用户参数0_6 | 用户参数0_7 | 用户参数0_8 | 用户参数0_9 | 用户参数0_10 | 用户参数0_11 | 用户参数0_12 | 用户参数0_13 | 用户参数0_14 | 用户参数0_15 | 用户参数0_16 | 用户参数0_17 | 用户参数0_18 | 用户参数0_19 | 用户参数1_0 | 用户参数1_1 | 用户参数1_2 | 用户参数1_3 | 用户参数1_4 | 用户参数1_5 | 用户参数1_6 | 用户参数1_7 | 用户参数1_8 | 用户参数1_9 | 用户参数1_10 | 用户参数1_11 | 用户参数1_12 | 用户参数1_13 | 用户参数1_14 | 用户参数1_15 | 用户参数1_16 | 用户参数1_17 | 用户参数1_18 | 用户参数1_19 | 用户参数2_0 | 用户参数2_1 | 用户参数2_2 | 用户参数2_3 | 用户参数2_4 | 用户参数2_5 | 用户参数2_6 | 用户参数2_7 | 用户参数2_8 | 用户参数2_9 | 用户参数2_10 | 用户参数2_11 | 用户参数2_12 | 用户参数2_13 | 用户参数2_14 | 用户参数2_15 | 用户参数2_16 | 用户参数2_17 | 用户参数2_18 | 用户参数2_19 | 用户参数3_0 | 用户参数3_1 | 用户参数3_2 | 用户参数3_3 | 用户参数3_4 | 用户参数3_5 | 用户参数3_6 | 用户参数3_7 | 用户参数3_8 | 用户参数3_9 | 用户参数3_10 | 用户参数3_11 | 用户参数3_12 | 用户参数3_13 | 用户参数3_14 | 用户参数3_15 | 用户参数3_16 | 用户参数3_17 | 用户参数3_18 | 用户参数3_19 | 用户参数4_0 | 用户参数4_1 | 用户参数4_2 | 用户参数4_3 | 用户参数4_4 | 用户参数4_5 | 用户参数4_6 | 用户参数4_7 | 用户参数4_8 | 用户参数4_9 | 用户参数4_10 | 用户参数4_11 | 用户参数4_12 | 用户参数4_13 | 用户参数4_14 | 用户参数4_15 | 用户参数4_16 | 用户参数4_17 | 用户参数4_18 | 用户参数4_19 | 用户参数5_0 | 用户参数5_1 | 用户参数5_2 | 用户参数5_3 | 用户参数5_4 | 用户参数5_5 | 用户参数5_6 | 用户参数5_7 | 用户参数5_8 | 用户参数5_9 | 用户参数5_10 | 用户参数5_11 | 用户参数5_12 | 用户参数5_13 | 用户参数5_14 | 用户参数5_15 | 用户参数5_16 | 用户参数5_17 | 用户参数5_18 | 用户参数5_19 | 用户参数6_0 | 用户参数6_1 | 用户参数6_2 | 用户参数6_3 | 用户参数6_4 | 用户参数6_5 | 用户参数6_6 | 用户参数6_7 | 用户参数6_8 | 用户参数6_9 | 用户参数6_10 | 用户参数6_11 | 用户参数6_12 | 用户参数6_13 | 用户参数6_14 | 用户参数6_15 | 用户参数6_16 | 用户参数6_17 | 用户参数6_18 | 用户参数6_19 | 用户参数7_0 | 用户参数7_1 | 用户参数7_2 | 用户参数7_3 | 用户参数7_4 | 用户参数7_5 | 用户参数7_6 | 用户参数7_7 | 用户参数7_8 | 用户参数7_9 | 用户参数7_10 | 用户参数7_11 | 用户参数7_12 | 用户参数7_13 | 用户参数7_14 | 用户参数7_15 | 用户参数7_16 | 用户参数7_17 | 用户参数7_18 | 用户参数7_19 | 用户参数8_0 | 用户参数8_1 | 用户参数8_2 | 用户参数8_3 | 用户参数8_4 | 用户参数8_5 | 用户参数8_6 | 用户参数8_7 | 用户参数8_8 | 用户参数8_9 | 用户参数8_10 | 用户参数8_11 | 用户参数8_12 | 用户参数8_13 | 用户参数8_14 | 用户参数8_15 | 用户参数8_16 | 用户参数8_17 | 用户参数8_18 | 用户参数8_19 | 用户参数9_0 | 用户参数9_1 | 用户参数9_2 | 用户参数9_3 | 用户参数9_4 | 用户参数9_5 | 用户参数9_6 | 用户参数9_7 | 用户参数9_8 | 用户参数9_9 | 用户参数9_10 | 用户参数9_11 | 用户参数9_12 | 用户参数9_13 | 用户参数9_14 | 用户参数9_15 | 用户参数9_16 | 用户参数9_17 | 用户参数9_18 | 用户参数9_19 | 用户参数10_0 | 用户参数10_1 | 用户参数10_2 | 用户参数10_3 | 用户参数10_4 | 用户参数10_5 | 用户参数10_6 | 用户参数10_7 | 用户参数10_8 | 用户参数10_9 | 用户参数10_10 | 用户参数10_11 | 用户参数10_12 | 用户参数10_13 | 用户参数10_14 | 用户参数10_15 | 用户参数10_16 | 用户参数10_17 | 用户参数10_18 | 用户参数10_19 | 用户参数11_0 | 用户参数11_1 | 用户参数11_2 | 用户参数11_3 | 用户参数11_4 | 用户参数11_5 | 用户参数11_6 | 用户参数11_7 | 用户参数11_8 | 用户参数11_9 | 用户参数11_10 | 用户参数11_11 | 用户参数11_12 | 用户参数11_13 | 用户参数11_14 | 用户参数11_15 | 用户参数11_16 | 用户参数11_17 | 用户参数11_18 | 用户参数11_19 | 用户参数12_0 | 用户参数12_1 | 用户参数12_2 | 用户参数12_3 | 用户参数12_4 | 用户参数12_5 | 用户参数12_6 | 用户参数12_7 | 用户参数12_8 | 用户参数12_9 | 用户参数12_10 | 用户参数12_11 | 用户参数12_12 | 用户参数12_13 | 用户参数12_14 | 用户参数12_15 | 用户参数12_16 | 用户参数12_17 | 用户参数12_18 | 用户参数12_19 | 用户参数13_0 | 用户参数13_1 | 用户参数13_2 | 用户参数13_3 | 用户参数13_4 | 用户参数13_5 | 用户参数13_6 | 用户参数13_7 | 用户参数13_8 | 用户参数13_9 | 用户参数13_10 | 用户参数13_11 | 用户参数13_12 | 用户参数13_13 | 用户参数13_14 | 用户参数13_15 | 用户参数13_16 | 用户参数13_17 | 用户参数13_18 | 用户参数13_19 | 用户参数14_0 | 用户参数14_1 | 用户参数14_2 | 用户参数14_3 | 用户参数14_4 | 用户参数14_5 | 用户参数14_6 | 用户参数14_7 | 用户参数14_8 | 用户参数14_9 | 用户参数14_10 | 用户参数14_11 | 用户参数14_12 | 用户参数14_13 | 用户参数14_14 | 用户参数14_15 | 用户参数14_16 | 用户参数14_17 | 用户参数14_18 | 用户参数14_19 | 用户参数15_0 | 用户参数15_1 | 用户参数15_2 | 用户参数15_3 | 用户参数15_4 | 用户参数15_5 | 用户参数15_6 | 用户参数15_7 | 用户参数15_8 | 用户参数15_9 | 用户参数15_10 | 用户参数15_11 | 用户参数15_12 | 用户参数15_13 | 用户参数15_14 | 用户参数15_15 | 用户参数15_16 | 用户参数15_17 | 用户参数15_18 | 用户参数15_19
14 | 0 | K-CU01
14 | 10 | K-AO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP//SkpKSkpKSkoAACigKKAooCigKKAooCigKKAAAAAAOwAAAAB8AHwAfAIsAQAAAHwAfAB8AiwEAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 11 | K-AO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP//SkpKSkpKSkoAACigKKAooCigKKAooCigKKAAAAAAOwAAAAB8AHwAfAIsAQAAAHwAfAB8AiwEAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 12 | K-AO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP//SkpKSkpKSkoAACigKKAooCigKKAooCigKKAAAAAAOwAAAAB8AHwAfAIsAQAAAHwAfAB8AiwEAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 13 | K-AI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAAL//0pKSkpKSkpKCAgICAgICAgAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 14 | K-AI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAAL//0pKSkpKSkpKCAgICAgICAgAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 15 | K-AI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAAL//0pKSkpKSkpKCAgICAgICAgAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 16 | K-AI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAAL//0pKSkpKSkpKCAgICAgICAgAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 17 | K-TC01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFUtAv//19fX19fX19cCAgICAgICAgAAAAA7AAAAAHwAfAB8ASwBAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 2 | K-BUS02 | 5 | 1 | 1 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAKqqqqqqqqqqAACqqqqqAACqqgAAAAA7AAAAAHwAfAB8ASwBAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 20 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 21 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 22 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 23 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 24 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 25 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 26 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 30 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 31 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 32 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 33 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 34 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 35 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 36 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 4 | K-BUS02 | 5 | 1 | 1 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAKqqqqqqqqqqAACqqgAAAACqAAAAAAA7AAAAAHwAfAB8ASwBAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 40 | K-DO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP////8AAAAAAAAAAAAAAAA7AAAAAHwAfAB8AiwBAAAAfAB8AHwCLAQAAAB8AHwAfAE= | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 41 | K-DO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP////8AAAAAAAAAAAAAAAA7AAAAAHwAfAB8AiwBAAAAfAB8AHwCLAQAAAB8AHwAfAE= | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 42 | K-DO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP////8AAAAAAAAAAAAAAAA7AAAAAHwAfAB8AiwBAAAAfAB8AHwCLAQAAAB8AHwAfAE= | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 43 | K-DO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP////8AAAAAAAAAAAAAAAA7AAAAAHwAfAB8AiwBAAAAfAB8AHwCLAQAAAB8AHwAfAE= | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 44 | K-DP02 | 5 | 1 | 0 | 0 | 0 |  |  |  | AQAAAA== | [19 empty] | AgAAAAQAfEIQ4QB8AAAAAHwAAHw= | [19 empty] | AwAAAMAAAAQAADsAAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 45 | K-DP02 | 5 | 1 | 0 | 0 | 0 |  |  |  | AQAAAA== | [19 empty] | AgAAAAQAfEIQ4QB8AAAAAHwAAHw= | [19 empty] | AwAAAMAAAAQAADsAAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 50 | K-AO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP//SkpKSkpKSkoAACigKKAooCigKKAooCigKKAAAAAAOwAAAAB8AHwAfAIsAQAAAHwAfAB8AiwEAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 51 | K-AO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP//SkpKSkpKSkoAACigKKAooCigKKAooCigKKAAAAAAOwAAAAB8AHwAfAIsAQAAAHwAfAB8AiwEAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 52 | K-AO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP//SkpKSkpKSkoAACigKKAooCigKKAooCigKKAAAAAAOwAAAAB8AHwAfAIsAQAAAHwAfAB8AiwEAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 53 | K-AI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAAL//0pKSkpKSkpKCAgICAgICAgAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 54 | K-AI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAAL//0pKSkpKSkpKCAgICAgICAgAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 55 | K-AI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAAL//0pKSkpKSkpKCAgICAgICAgAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 56 | K-DP02 | 5 | 1 | 0 | 0 | 0 |  |  |  | AQAAAA== | [19 empty] | AgAAAAQAfEIQ4QB8AAAAAHwAAHw= | [19 empty] | AwAAAMAAAAQAADsAAAAAfAB8AHwB | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 60 | K-DO01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAP////8AAAAAAAAAAAAAAAA7AAAAAHwAfAB8AiwBAAAAfAB8AHwCLAQAAAB8AHwAfAE= | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 61 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 62 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB
14 | 63 | K-DI01 | 5 | 1 | 0 | 0 | 0 |  |  |  | AgAAAA== | [19 empty] | AwAAAAAAAFVV/////6qqqqoAAAAAOwAAAAB8AHwAfAEsAQAAAHwAfAB8AQ== | [19 empty] | BAAAAAA= | [19 empty] | BQAAAAEB

## AI
PN | DS | LOC_DS | MU | MD | UT | OF | SIGTYPE | AH | H1 | AL | L1 | HH | H2 | LL | L2 | ALMDB | ADLY | RATIO | RATLV | DAL | DALPLV | DALNLV | DALDB | OUTSP | DALTYPE | INHLIM | INHH2 | INHH1 | INHL1 | INHL2 | INHRAT | INHDAL | INHDALP | INHDALN | HISCP | HISTP | FTROPT | FTRCOF | SQRTOPT | ECTCUTO | ECTCUTV | ENGCUTO | ENGCUTV | SUBOPT | MANSUB | SUBVAL | REVOPT | MT | AREANO | SN | DN | CN | TN | BENGCAL | VA | NET | BIAS | IN | RALOUT | AV | AM | Q | REDSTA | PNLOPT | ALMOPT | IO_LPS | GW_TYPE | GW_DN | GW_LPS | RD | GW
点名 | 点描述 | 系统所使用语言的点描述 | 量程上限 | 量程下限 | 单位 | 显示格式 | 信号类型 | 报警高限 | 高限报警级 | 报警低限 | 低限报警级 | 报警高高限 | 高高限报警级 | 报警低低限 | 低低限报警级 | 限值报警死区 | 报警恢复延时时间 | 速率报警限 | 速率报警级 | 偏差报警限 | 正偏差报警级 | 负偏差报警级 | 偏差报警限死区 | 输出设定值 | 偏差报警类型 | 限值报警抑制 | 高高限报警抑制 | 高限报警抑制 | 低限报警抑制 | 低低限报警抑制 | 速率报警抑制 | 偏差报警抑制 | 正偏差报警抑制 | 负偏差报警抑制 | 采集周期 | 采集方式 | 滤波 | 滤波时间 | 是否开方 | 开方小信号切除 | 开方小信号切除限 | 工程量小信号切除 | 工程量小信号切除限 | 是否替代 | 替代模式 | 替代值 | 反量程属性 | 模块类型 | 区域 | 站号 | 模块地址 | 通道号 | 端子编号 | 工程计算属性 | 声音报警 | 是否上网 | 偏置项 | 模块采集值 | 工程量采集值 | 当前值 | 工艺报警状态 | 质量位 | 信号来源 | 操作面板选择 | 工艺报警开关 | IO所属链路 | 网关类型 | 网关站号 | 网关所属链路 | 是否冗余 | 网关接线方式
PIA_1001A | 表冷器A入口烟气压力 | 表冷器A入口烟气压力 | 0 | -1000 | Pa | %-8.2f | S4_20mA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 5 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 00:00:00 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | K-AI01 | 0 | 14 | 13 | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 0 |  |  |  | 0 | 0

## AO
PN | DS | LOC_DS | MU | MD | UT | OF | HISCP | HISTP | REVOPT | OUTU | OUTL | ECTU | ECTL | AREANO | MT | SN | DN | CN | TN | BENGCAL | VA | NET | AI | AV | OUT | EOUT | REDSTA | ADLY | RATIO | RATLV | INHRAT | Q | AM | PNLOPT | ALMOPT | IO_LPS | GW_TYPE | GW_DN | GW_LPS | RD | GW
点名 | 点描述 | 系统所使用语言的点描述 | 量程上限 | 量程下限 | 单位 | 显示格式 | 采集周期 | 采集方式 | 反量程属性 | 输出设定上限 | 输出设定下限 | 电信号上限 | 电信号下限 | 区域 | 模块类型 | 站号 | 模块地址 | 通道号 | 端子编号 | 工程计算属性 | 声音报警 | 是否上网 | 工程量数据 | 实际输出工程量 | 输出码值 | 电信号值 | 信号来源 | 报警恢复延时时间 | 速率报警限 | 速率报警级 | 速率报警抑制 | 质量位 | 工艺报警状态 | 操作面板选择 | 工艺报警开关 | IO所属链路 | 网关类型 | 网关站号 | 网关所属链路 | 是否冗余 | 网关接线方式
B11S03A_FS | 星型卸料器频率调节 | 星型卸料器频率调节 | 100 | 0 | % | %-8.2f | 00:00:00 | 0 | 0 | 100 | 0 | 20 | 4 | 0 | K-AO01 | 14 | 10 | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 0 | 0 | 0 | 0 |  | 1 | 0 |  |  |  | 0 | 0

## DI
PN | DS | LOC_DS | E0 | E1 | DAMOPT | DAMLV | INHDAM | SVROPT | SVR | SVRRST | SUBOPT | MANSUB | SUBVAL | REVOPT | MT | AREANO | SN | DN | CN | TN | BENGCAL | VA | NET | DI | DV | Q | REDSTA | DAM | PNLOPT | ALMOPT | BHDBOPT | IO_LPS | GW_TYPE | GW_DN | GW_LPS | SOEEN | MODESOE | RD | GW
点名 | 点描述 | 系统所使用语言的点描述 | 置0说明 | 置1说明 | 报警属性 | 报警级 | 报警抑制 | 是否判别抖动 | 抖动时间长度 | 消抖时间长度 | 是否替代 | 替代模式 | 替代值 | 反量程属性 | 模块类型 | 区域 | 站号 | 模块地址 | 通道号 | 端子编号 | 工程计算属性 | 声音报警 | 是否上网 | 输入值 | 当前值 | 质量位 | 信号来源 | 报警指示 | 操作面板选择 | 工艺报警开关 | 开关量是否进历史库 | IO所属链路 | 网关类型 | 网关站号 | 网关所属链路 | SOE使能 | 模块SOE使能 | 是否冗余 | 网关接线方式
B05S04_RT | 皮带输送机远程 | 皮带输送机远程 |  |  | 0 | 0 | 0 | 1 | 2 | 5 | 0 | 0 | 0 | 0 | K-DI01 | 0 | 14 | 20 | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 0 |  |  |  | 0 | 0 | 0 | 0

## DOV
PN | DS | LOC_DS | E0 | E1 | REVOPT | MT | AREANO | SN | DN | CN | TN | BENGCAL | NET | DI | DV | Q | REDSTA | PNLOPT | DAMOPT | DAMLV | INHDAM | DAM | VA | ALMOPT | BHDBOPT | IO_LPS | GW_TYPE | GW_DN | GW_LPS | SOEEN | RD | GW
点名 | 点描述 | 系统所使用语言的点描述 | 置0说明 | 置1说明 | 反量程属性 | 模块类型 | 区域 | 站号 | 模块地址 | 通道号 | 端子编号 | 工程计算属性 | 是否上网 | 输入值 | 当前值 | 质量位 | 信号来源 | 操作面板选择 | 报警属性 | 报警级 | 报警抑制 | 报警指示 | 声音报警 | 工艺报警开关 | 开关量是否进历史库 | IO所属链路 | 网关类型 | 网关站号 | 网关所属链路 | SOE使能 | 是否冗余 | 网关接线方式
B05S04_ST | 皮带输送机启停 | 皮带输送机启停 |  |  | 0 | K-DO01 | 0 | 14 | 40 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 1 | 1 | 0 |  |  |  | 0 | 0 | 0

## TC
PN | DS | LOC_DS | MU | MD | UT | OF | SIGTYPE | AH | H1 | AL | L1 | HH | H2 | LL | L2 | ALMDB | ADLY | RATIO | RATLV | DAL | DALPLV | DALNLV | DALDB | OUTSP | DALTYPE | INHLIM | INHH2 | INHH1 | INHL1 | INHL2 | INHRAT | INHDAL | INHDALP | INHDALN | HISCP | HISTP | CJCOMP | TCOMP | FTROPT | FTRCOF | SUBOPT | MANSUB | SUBVAL | MT | CTPN | AREANO | SN | DN | CN | TN | BENGCAL | NET | VA | BIAS | IN | REDSTA | RALOUT | AV | Q | AM | PNLOPT | ALMOPT | IO_LPS | GW_TYPE | GW_DN | GW_LPS | RD | GW
点名 | 点描述 | 系统所使用语言的点描述 | 量程上限 | 量程下限 | 单位 | 显示格式 | 信号类型 | 报警高限 | 高限报警级 | 报警低限 | 低限报警级 | 报警高高限 | 高高限报警级 | 报警低低限 | 低低限报警级 | 限值报警死区 | 报警恢复延时时间 | 速率报警限 | 速率报警级 | 偏差报警限 | 正偏差报警级 | 负偏差报警级 | 偏差报警限死区 | 输出设定值 | 偏差报警类型 | 限值报警抑制 | 高高限报警抑制 | 高限报警抑制 | 低限报警抑制 | 低低限报警抑制 | 速率报警抑制 | 偏差报警抑制 | 正偏差报警抑制 | 负偏差报警抑制 | 采集周期 | 采集方式 | 冷端补偿值 | 温度补偿值 | 滤波 | 滤波时间 | 是否替代 | 替代模式 | 替代值 | 模块类型 | 冷端补偿点名 | 区域 | 站号 | 模块地址 | 通道号 | 端子编号 | 工程计算属性 | 是否上网 | 声音报警 | 偏置项 | 模块采集值 | 信号来源 | 工程量采集值 | 当前值 | 质量位 | 工艺报警状态 | 操作面板选择 | 工艺报警开关 | IO所属链路 | 网关类型 | 网关站号 | 网关所属链路 | 是否冗余 | 网关接线方式
TIA_1001A | 表冷器A入口烟气温度 | 表冷器A入口烟气温度 | 600 | 0 | ℃ | %-8.2f | K_TC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 5 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 00:00:00 | 0 | 本模块的冷端补偿点 | 0 | 0 | 0 | 0 | 0 | 0 | K-TC01 |  | 0 | 14 | 17 | 1 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 0 |  |  |  | 0 | 0

## PIDA
PN | DS | LOC_DS | PVU | PVL | ENGU | ENGL | PVUT | PVOF | AVUT | AVOF | KP | TI | KD | TD | INTEDB | DVDB | PIDTYPE | OUTOPT | ACTOPT | MODE | TRKEN | TRKVAL | TRKSW | TRKOPT | SP | INTERSP | GIVERAT | SMANOPT | SPFRAT | SPSRAT | OMANOPT | MANF | MANS | OUTU | OUTL | OUTRAT | INCOMP | OUTCOMP | AH | H1 | AL | L1 | HH | H2 | LL | L2 | ALMDB | INHH2 | INHH1 | INHL1 | INHL2 | MANCUT | DAL | DALLV | INHDAL | HISCP | HISTP | AREANO | SN | NET | AM | Q | TRKMODE | PNLOPT | ALMOPT
点名 | 点描述 | 系统所使用语言的点描述 | PV量程上限 | PV量程下限 | 输出量程上限 | 输出量程下限 | 测量值单位 | 测量值输出格式 | 输出值单位 | 输出值输出格式 | 比例带 | 积分时间 | 微分增益 | 微分时间 | 积分分离值/反向限(%) | 输入死区/全开关限 | PID回路类型 | 输出方式 | 作用方式 | 运行模式 | 跟踪允许 | 跟踪点值 | 跟踪开关 | SP跟踪PV | 设定值 | 内给定值 | SP变化率限 | SP变化方式 | SP快变化量 | SP慢变化量 | 输出变化方式 | 手动快变化量 | 手动慢变化量 | 输出上限值 | 输出下限值 | 输出变化率 | 输入补偿 | 输出补偿 | 报警高限 | 高限报警级 | 报警低限 | 低限报警级 | 报警高高限 | 高高限报警级 | 报警低低限 | 低低限报警级 | 限值报警死区 | 高高限报警抑制 | 高限报警抑制 | 低限报警抑制 | 低低限报警抑制 | 报警切手动 | 偏差报警限(%) | 偏差报警级 | 偏差报警抑制 | 采集周期 | 采集方式 | 区域 | 站号 | 是否上网 | 测量值报警信息 | 测量值质量 | 退出跟踪后模式选择 | 操作面板选择 | 工艺报警开关
FIC_1101 | 过渡槽1泵出口流量调节 | 过渡槽1泵出口流量调节 | 80 | 0 | 100 | 0 | m3/h | %-8.2f |  | %-8.2f | 100 | 30 | 1 | 0 | 100 | 0.2 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 10 | 0 | 5 | 1 | 0 | 1.5 | 0.5 | 100 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1920 | 30 | 0 | 0 | 00:00:00 | 0 | 0 | 14 | 0 | 0 | 0 | 0 |  | 1